Image Analysis with Fiji
http://imagej.net/Presentations

---
What is ImageJ?
A tool for scientific image analysis
Open source
You wouldn't write:
Added 500mg of unknown chemical.
So don't put your data in a black box!
Rich ecosystem: thousands of plugins
Science = reproducibility
Plugins>Utilities>Make Fiji Package
http://imagej.net/

---
Fiji Is Just ImageJ
http://imagej.net/Introduction

---
Who uses Fiji?
Resources for advice and collaboration

---
There's a lot of stuff!
Ctrl+L = Command Finder
http://imagej.net/Command_Finder

---
Learn how to fish:
http://imagej.net/

---
Learn how to fish:
http://search.imagej.net/

---
Teach me how to fish!
http://forum.imagej.net/

---
The main window
Tip: click on the status bar
Tip: right / double-click on Tools
http://imagej.net/Getting_started

---
Staying up-to-date
http://imagej.net/Updater

---
Memory management
Edit>Options>Memory & Threads
Plugins>Utilities>Monitor Memory
http://imagej.net/guide/146-27.html

---
Opening images
Drag & Drop
File>Open
Plugins>Bio-Formats>
     Bio-Formats Importer
http://imagej.net/Importing_Image_Files

---
Pixel types
http://imagej.net/docs/guide/146-7.html

---
Pixel type pitfalls
Know the limitations of your data
File>New>Image... (32-bit, ramp, 20x20)
Process>Math>Multiply... : 100,000,000
Probe values
Process>Math>Add... : 1
Probe values
Can you find any problems?
http://imagej.net/IP_Principles

---
Get to know your data
File>Open Samples>Boats
Analyze>Histogram
Compare histograms:
  File>Open Samples>Blobs
What would cause this histogram:
http://imagej.net/docs/guide/146-30.html

---
Profile Plots
Qualitative observations → Quantitative data
Open Blobs (Shift + B)
Use any Line tool
Analyze>Plot Profile
Image>Stacks>Plot Z-Axis Profile...
http://imagej.net/docs/guide/146-28.html

---
Thresholding
Isolate values of interest
Open Blobs (Shift + B)
Image>Adjust>Threshold…
Use Profile Plot to guide threshold
Which method is best?
Image>Adjust>Auto Threshold>Try All
http://imagej.net/docs/guide/

---
Regions of interest: ROIs
File>Open Samples>Clown
Freehand Line
Circle the clown nose
Analyze>Measure
Can you draw the same circle on a new clown?
http://imagej.net/docs/guide/146-10.html

---
ROI Manager
Two clowns, one measurement
Select a nose
Press t – or Analyze>Tools>ROI Manager
Select other clown
Click ROI in manager – or Edit>Selection>Restore Selection
http://imagej.net/docs/guide/146-10.html

---
Qualitative Observations
File>Open Samples>T1 Head (2.4M, 16-bits)
Image>Type>8-bit
Plugins>3D Viewer (Resampling Factor: 1)
http://imagej.net/3D_Viewer

---
Information flow
Starts at image acquisition!
What does this image tell us
   about the volume of this pipette?

---
Information loss
Image formats are not created equal!

---
Pixel Problems
Pixels are not little squares
See Alvy Ray Smith's article for details:
http://alvyray.com/Memos/CG/Microsoft/6_pixel.pdf
Can think of detectors as sampling a Gaussian
Edit>Options>Appearance...>
Interpolate zoomed images
http://imagej.net/IP_Principles

---
Eyes? More like LIES!
File>Open Samples>Fly Brain
Image>Color>Channels Tool…
Can “Composite” mode show colocalization?
http://imagej.net/docs/guide/146-28.html

---
“Color” is not “signal”
   File>Open Samples>Spirals
   How many colors in the spiral below?
   What if we:
        Image>Adjust>Brightness/Contrast
    … change colors?
        Image>Type>8-bit color
  Image>Lookup Tables>glasbey
    … zoom in (+) and probe?

---
Eyes are not all equal
Image>Color>Simulate Color Blindness
https://nei.nih.gov/health/color_blindness

---
So what CAN we do?
Image>Color>Split channels
Process>Image calculator (AND)
But… what question have we answered?
http://imagej.net/docs/menus/process.html

---
Registration
Unify coordinates of 2+ images
File>Open Samples>Centipede Drawing
File>Open Samples>Centipede Mivart
Draw lines between equivalent points
Plugins>Registration>Align Image by line ROI
http://imagej.net/Image_Stitching

---
Segmentation
Identify blobs of interest
File>Open Samples>Blobs (25k)
Image>Duplicate…
Image>Adjust>Auto Threshold
Process>Binary>Dilate (x2)
Process>Binary>Watershed
Analyze>Analyze Particles...
http://imagej.net/Segmentation

---
Macros: Never Forget
 Plugins>Macros>Record...
http://imagej.net/Macros

---
Further reading
The community—forum and mailing list! ~2000 members:
http://imagej.net/Help
The ImageJ manual:
    http://imagej.net/docs/guide/
The Cookbook, a collection of image analysis “recipes”:
http://imagej.net/Cookbook
A thorough Fiji tutorial for beginners:
http://nic.uni-hd.de/analysis.html
Additional workshops and presentations:
http://imagej.net/Presentations